**IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER**

**The Town of Annetta, Deer Creek** has violated the monitoring and reporting requirements set by Texas Commission on Environmental Quality (TCEQ) in Chapter 30, Section 290, Subchapter F. Even though these were not emergencies, as our customers, you have the right to know what happened and what we are doing to correct these situations.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During June 1 – September 30, 2015 we did not complete all monitoring or testing for lead and copper, and therefore cannot be sure of the quality of your drinking water during that time.*

The table below lists the contaminant(s) we did not properly test for during the last year, how often we are supposed to sample for lead and copper, how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which the follow-up samples were and will be taken.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Contaminant | Required sampling frequency | Number of samples taken | When samples should have been taken | When samples were or will be taken |
| *Lead and Copper tap water sampling* | *10 samples every three years* | *0* | *June 1 – September 30, 2015* | *Samples were taken November 2015, Will be taken again* *June 1 – September 30, 2016* |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**What is being done?**

We are working to correct the problem. For more information, please contact Mr. Glenn Kincaid at 817-441-5770.

Samples were taken immediately upon notice from the TCEQ of the monitoring timing violation in November 2015. These samples are taken every three years and should have been taken between June 1 and Sept 30. Due to a miscommunication with the TCEQ, samples for 2015 were taken after this monitoring period. The results of the samples indicate the lead & copper levels meet Federal and TCEQ standards for drinking water. The Town of Annetta has updated its Monitoring Plan to reflect the required sampling time frame and months of collection.

This notice is being sent to you by the Town of Annetta. Public Water System Number: TX1840111

Date Distributed: February 5, 2016